MODEL

TRADE WASTE ENVIRONMENTAL MANAGEMENT PLAN

Draft: 1 August 1998

Department of Natural Resources,  and

Department of Environment and Heritage, Queensland.

__________________________________________________________________________

DRAFT FOR CONSULTATION PURPOSES ONLY

During the consultation phase of the development of the Environment Protection Policy (Water) 1997 (see below) it was agreed that model management plans should be prepared to assist local government authorities meet statutory obligations under the legislation.  Four model plans are being prepared: for stormwater, trade waste, sewerage and water conservation.  This document is the second in this series.  The stormwater model plan is approaching the close of its consultation phase, while consultation regarding the sewerage and water conservation plans will commence shortly.

Part Two of this document is based on the April 1997 version of DPI’s Model Trade Waste Policy, with additions suggested by the Department of Environment and Heritage.  These changes are shown in shaded boxes.

The 1997 version of the Model Trade Waste Policy needs amendment to take account of recent changes in legislation, in particular the Standard Sewerage Law.  DNR wrote to all Queensland local governments on 3 August 1998 seeking feedback on the Model Trade Waste Policy, particularly from users of the model policy.   Comment was requested by 31 August 1998.

This version of the draft Model Plan has been circulated to the Local Government Association of Queensland, the Institute of Municipal Engineers of Australia, and members of the Australian Water and Wastewater Association Trade Waste Interest Group (Queensland) convened by Gary Dean of Pine Rivers Shire Council.  It is now being circulated for a second round of comment to all Queensland local governments, with a request that comment be provided in conjunction with the DNR policy review (mentioned in the last paragraph), and due by the same date: 31 August 1998.

Contacts for comment (due before 31 August 1998):

Ann Woolley, Department of Natural Resources, GPO Box 2454 Brisbane Q  4001;    phone (07) 3224 8556,  fax (07) 3224 7999.

Jon Nevill, Policy Coordination Section, Department of  Environment and Heritage, PO Box 155, Brisbane Albert Street, Q 4002;  phone (07) 3227 6170; fax (07) 3227 7237.

__________________________________________________________________________

This document is divided into two parts: the first discusses the need for a trade waste environmental management plan, while the second part provides a model plan to guide to local authorities.

PART  ONE:

THE NEED FOR A TRADE WASTE ENVIRONMENTAL MANAGEMENT PLAN

Purpose:

The purpose of the Model Trade Waste Environmental Management Plan (TWEMP) is to provide local authorities (trade waste service providers) with a planning framework to meet responsibilities under the Queensland:

- Environmental Protection Act 1994 (referred to below as “the Act”)

- Sewerage and Water Supply Act 1949, and the subordinate Standard Sewerage Law 1998

- Environmental Protection (Water) Policy 1997 (referred to below as “the water policy”), and

- other legislation subordinate to the two above Acts (see Appendix 1).

Terminology:

Neither the Act nor the water policy define “trade waste”.  The term  can be interpreted in a number of ways.  For the purposes of this document, trade waste is limited to mean sewerable liquid waste, and the substances contained in that waste, produced by commercial and industrial sources (see under definitions in the model plans).

Other words used in this document may be interpreted by reference to the following hierarchy: (a) the Environment Protection Act 1994, (b) the Sewerage and Water Supply Act 1949 and the Standard Sewerage Law 1998, (c) the water policy, and (d) the Macquarie Concise Dictionary.

Basis:

The need for planning the provision of trade waste services is described in a number of references (for example, references 1 and 2 listed below).  The Department of Primary Industries Model Trade Waste Policy (reference 2) provides detailed guidance to local authorities on trade waste planning issues.  Local authorities should note that, at this time (August 1998), the DPI model policy is undergoing minor review.

The water policy establishes concepts of environmental values pertaining to water, as well as indicators, guidelines, and associated protocols (water policy part 3).  The policy establishes a framework of water quality objectives, evaluation procedures, environmental management decisions, and water monitoring (parts 4 and 5).   Part 6 of the policy deals with the management of certain specific types of water contamination, and part 7 requires the preparation of environmental plans.

A local authority (a provider of sewerage and trade waste services) must, under sections 40-43 of the water policy, develop and implement environmental plans in four specific areas, one of which is the management of trade wastes.  The environmental plan must seek to achieve the purpose of the policy (section 35).  Section 5 of the policy states that the purpose of the policy is to achieve the object of the Act in relation to Queensland waters.  The object of the Act is set out in section 3: “to protect Queensland’s environment while allowing for development that improves the total quality of life, both now and in the future, in a way that maintains the ecological processes on which life depends”.  The meaning of this object is elaborated by subsequent sections of the Act (see below).

The model management plan contained in this document incorporates and elaborates the essential elements of the DPI model trade waste policy necessary to meet requirements under the Act and the water policy.  In other words, authorities need to develop a management plan in accordance with this model to demonstrate due diligence in meeting the requirements of the Act and the water policy.

Queensland’s local authorities vary in size, encompassing both rural communities handling only minor trade wastes, to cities where considerable trade waste types and flows are processed.  The model management plan should be interpreted flexibly within this framework.

Smaller rural authorities need, within the guidance of the model, to develop plans appropriate to their situation.  Due to the small scale of their operations, this should not be onerous.  Advice is provided at the close of Part One on “cutting down” the scope of the model plan to suit small sewerage / trade waste systems.

Larger authorities need a more comprehensive approach.  Most authorities in south-eastern Queensland have already developed trade waste policies based on the DPI model trade waste policy.  These authorities need to review their trade waste policy, in the light of:

- the model management plan, and

- minor revisions which are currently taking place to the DPI model policy.

Most large authorities, particularly those that have already developed environmental management systems (under either the ISO 14000 standards or the more recent Australian Standards) will find that they already meet (or come close to meeting) the requirement of the water policy’s planning process.  To comply, they will use their existing trade waste policy as a starting point, and, with appropriate additions as per the guidance contained in the models,

develop an environmental management plan for trade waste.

The largest of Queensland’s regional authorities may wish to develop plans which are more comprehensive than the model.  Material is readily available describing the trade waste processes of Australia’s largest authorities.  Refer, for example, to references 7, 8 and 9, relating to Brisbane, Sydney and Melbourne trade waste procedures.  The approach used by Sydney Water Corporation, for example, uses a four-part classification, and supplements concentration-based admission limits with acceptable mass load limits.

Function:

The function of the plan is:

- to provide local authorities with a planning framework for the management of trade waste, and

- to assist local authorities demonstrate duty of care and due diligence under Queensland legislation.

This involves both the plan (the planning phase) and implementation of the plan (as required by the water policy in section 41(1)).  The implementation phase will be based on appropriate budgetary provisions, capital works programs, operational programs, and regular monitoring, reporting and review.

Contents of the plan:

Readers unfamiliar with the DPI model trade waste policy (reference 2) should consult Section C of that document, Explanation of the Model Policy Document before reading further.  Familiarity with this material (on which the management plan contained here is partially based) is assumed in this document.

The contents of the plan (ie the requirements of the planning process) are based on:

- the requirements of the Sewerage and Water Supply Act 1949, and the subordinate Standard Sewerage Law 1998

- the requirements of legislation subordinate to the Environment Protection Act 1994 (“the Act”), and in particular the water policy

- the object of the Act as elaborated by its requirements, and

- best practice, as required by the Act.

Best practice changes and improves with time.  Guidance on best practice can be found in national and State water management strategy documents, as well as international, national and  State guidelines and codes of practise.  Australian Standards may be useful, but can represent best practice as it existed at a previous point in time.  They can, however, be useful for setting minimum benchmarks.

Section 41(2) of the water policy requires that the local authority must consider including in its plan:

- measures for requiring waste prevention, recycling and treatment before the release of trade wastes to sewer, and

- provisions about the effect of trade waste on:
(i)	the recycling of waste water and sludge
(ii)	the materials used to construct the sewerage system
(iii)	the health and safety of people working on the sewerage system, and
(iv)	the treatment capabilities of the sewage treatment plants.

In the context of establishing the object of the Act (and the water policy), section (2)(c) of the Act provides that policies may “establish a program by which the stated objectives are to be achieved and maintained, including...minimum standards .. for equipment for the control of contaminants ...and measures designed to protect the environment or minimise the possibility of environmental harm.”

The Act also establishes environmental duties.  Section 36(1) of the Act requires that: “a person must not carry out any activity that causes, or is likely to cause, environmental harm unless the person takes all reasonable and practicable measures to prevent or minimise the harm.”

Section 36(2) requires: “in deciding the measures required to be undertaken under subsection (1), regard must be had to, for example:

(a)	the nature of the harm or potential harm

(b)	the sensitivity of the receiving environment

(c)	the current state of technical knowledge for the activity

(d)	the likelihood of successful application of the different measures that might be taken, and

(e)	the financial implications of the different measures as they would relate to the type of activity.”

Direction on best practice procedures is available from a recognised sources.  Reference 5 (a component of the National Water Quality Management Strategy) states (p7):

A water quality management process should incorporate:

- national consistency in methods for setting goals, objectives and standards

- clear and explicit administrative processes

- clear and explicit assignment of responsibilities for the various phases of administration and operation

- accountability, where progress towards the desired water quality goals is monitored and reported

- matching of the administrative structures to the physical and social constraints, commonly on a catchment or sub-catchment basis

- involvement of stakeholders in definitions of goals, development of plans, and implantation of strategies

- administrative mechanisms responsive to change and development, including changing physical conditions over time, changing public preferences for water quality and resource management, and new technical options, and

- opportunities for harnessing market forces to the water quality management task.

The contents of the model plan is are based on the need to establish due diligence and duty of care with respect to the Act and the water policy.  The model plan meets the requirements of the Act and the water policy through a “best practice” procedure.

Many local authorities will wish to go past minimum requirements.   Particularly for medium to large sewerage systems, it is recommended that authorities:

- develop and implement a comprehensive sewerage and trade waste management plan, expanding and elaborating the model where necessary (consider frameworks used in references 7, 8 and 9), and

- develop and implement an environmental management system, and a total management planning approach, covering the authority’s water management activities:  ie:  water conservation, provision of environmental water, water supply, stormwater management, control of flooding, and the provision of sewerage and trade waste services.

Part Two of this document sets out the model plan:

Applying the model to small rural authorities

Local authorities with small sewerage systems will wish to simplify the following model plan, while still meeting legislative and due diligence requirements.

In simplifying the plan, authorities should:

- refer to the DPI model policy (reference 2) Section A 3.2 pages 9-12, and

- ensure that documentary records of the considerations required by the water policy section 41(2) (see above) are of an appropriate level of detail, scope and technical competence to satisfy due diligence and duty of care requirements.

If in doubt, it may be safer to follow the model, even if the result seems a little complex or clumsy for a small sewerage operation.

References:

1.	Agriculture and Resource Management Council of Australia and New Zealand and Australian and New Zealand Environment and Conservation Council (1994) Guidelines for Sewerage Systems; Acceptance of Trade Waste; National Water Quality Management Strategy.  Australian Water Resources Council, Canberra.

2.	Department of Primary Industries (1995) Model Trade Waste Policy.  DPI, Brisbane, Queensland.

3.	the ISO 14000 EMS standards (reference details to come)

4.	the Australian EMS standards (reference details to come)

5.	Agriculture and Resource Management Council of Australia and New Zealand and Australian and New Zealand Environment and Conservation Council (1994) Water Quality Management - an Outline of the Policies.  National Water Quality Management Strategy.  Australian Water Resources Council, Canberra.

6.	Agriculture and Resource Management Council of Australia and New Zealand and Australian and New Zealand Environment and Conservation Council (1994)  Policies and Principles - A Reference Document.  National Water Quality Management Strategy.  Australian Water Resources Council, Canberra.

7a.	Brisbane City Council (1994) Liquid Industrial Waste Policy and Management Plan; Brisbane City Council, (address to come)

7b.	Brisbane City Council (1994) Trade Waste Guide; Brisbane City Council,

8.	Sydney Water Corporation (1997) Trade Waste Policy and Management Plan, Sydney Water Corporation Limited, PO Box A53, Sydney South, NSW 2000, ph (02) 9350 6969.

9.	City West Water (1998) Trade Waste Guidelines, including Standard Clauses and Schedules for Agreements and Consents, Standards and Requirements for Trade Waste, and Charges for Trade Waste; City West Water Limited, (address to come).

PART TWO:

MODEL

TRADE WASTE ENVIRONMENTAL MANAGEMENT PLAN

Draft for consultation: 1 August 1998

___________________________________________________________________________

ATLANTIS SHIRE COUNCIL

TRADE WASTE

ENVIRONMENTAL MANAGEMENT PLAN

ENGINEERING DEPARTMENT, TRADE WASTE SECTION

January 1999

Atlantis Shire Council, PO Box 106, Atlantis, Qld, 4998

Atlantis Shire Council

Trade Waste Environmental Management Plan

## Contents

1.	INTRODUCTION..........................................					1

2.	DEFINITIONS									2

3.	POLICY OBJECTIVES.....................................					3

4.	CONTROL OF TRADE WASTE ...............................				3

4.1 TERMINATION OF PERMIT/AGREEMENT .....				4

4.2 PENALTIES...........................................					4

5.	SEWER ADMISSION LIMITS................................				4

6.	DISCHARGE CATEGORIES							5

7.	TRADE WASTE CHARGES AND FEES .........................			6

7.1 TRADE WASTE CHARGES ................................				6

7.2 CHARGES FOR FOOD WASTE DISPOSAL UNITS...............		7

7.3 INSPECTION AND ANALYSIS FEES........................			8

7.4 APPLICATION FEES....................................				8

7.5 SEPTAGE AND OTHER LIQUID WASTE FEES ................		8

7. 6 ADDITIONAL CHARGE..................................				8

8.	APPLICATION PROCEDURES................................				9

9.	PERMITS AND AGREEMENTS...............................				10

9.1 PERMITS ...........................................					10

9.2 AGREEMENTS ........................................					11

10.	INSPECTION AND MONITORING...........................				12

10. 1 INSPECTION CHAMBERS AND/OR GAUGING FACILITY ....		12

10.2 INSPECTION AND MONITORING .......................			13

11 .	DETERMINATION OF DISCHARGE QUANTITY...............			13

11.1 CATEGORY 1 AND 2................................					13

11.2 CATEGORY 3 .......................................					13

12.	DETERMINATION OF DISCHARGE QUALITY..................			14

12.1 CATEGORY 1 AND 2..................................				14

12.2 CATEGORY 3 .......................................					14

13.	REMOVAL OF INDUSTRIAL LIQUID WASTE FROM PREMISES ...	14

14.	ARRESTOR INSTALLATIONS.....................................				15

14.1 GREASE ARRESTORS ........................................			15

14.2 OIL ARRESTORS ...........................................				16

15.	ENZYMES/BACTERIAL CULTURES IN PRE-TREATMENT SYSTEMS..	16

16.	FOOD WASTE DISPOSAL UNITS ...............................			16

17.	COMMERCIAL SWIMMING POOLS/ORNAMENTAL PONDS.................	16

18.	MEDICAL, CLINICAL, VETERINARY AND INFECTIOUS WASTES........	17

19.	CONTAINMENT OF TOXIC/HAZARDOUS SUBSTANCES .................	17

20.	DISCHARGE OF LIQUID WASTES FROM BUSES, AIRCRAFT AND

VESSELS.......................................................					17

21.	LANDFILL LEACHATE..........................................				17

22.	DISCHARGE FROM OPEN AREAS .................................			17

23.	DISCRETIONARY POWER........................................				18

24.	REFERENCE TO COUNCIL ......................................				18

25.	PHASE IN PERIOD............................................				18

26.	COUNCIL MONITORING, REPORTING AND REVIEW			18

26.1 MONITORING

26.2 REPORTING

26.3 REVIEW

### Appendices

APPENDIX 1 Selected Legislation Relative to Trade Waste ........			20

APPENDIX 2 Sewer Admission Limits...............................				21

APPENDIX 3 Trade Waste Charges for Current Financial Year.......			24

1.	INTRODUCTION

Liquid wastes are produced by a variety of industrial, commercial and domestic activities.  Queensland’s Environmental Protection Act (1994) provides a general prohibition against the pollution of the environment by the discharge of such wastes, except where the person or agency holds an environmental authority permitting such discharge.   The Sewerage and Water Supply Act (1949) prohibits the unauthorised discharge of wastes into the sewerage system.  Thus producers of liquid wastes must either obtain legal access to the sewerage system (by agreement with, and payment to, the Council) or obtain an authority to discharge under the Environmental Protection Act.

Atlantis Shire Council provides a sewerage system primarily for the transport and treatment of domestic sewage. Payment for this service is collected through sewerage charges on each rateable property.  This system may also be used, where appropriate, for the acceptance and treatment of trade waste.  Trade waste charges apply.

Council must meet legislative environmental requirements relating to the disposal and reuse of treated effluent and sludges from its sewerage system. Under the Environmental Protection Act, all discharges to receiving waters are required to be treated to a standard set down in licences which will maintain or enhance receiving water quality and environmental values. Under the Act, Council is also held responsible for any pollution from stormwater outfalls under its control.  The stormwater system must only be used for the disposal of uncontaminated stormwater runoff.

Domestic sewage consists mostly of water which, after treatment to reduce biodegradable material, suspended solids and nutrients, can be disposed of in accordance with licence requirements.  Council is actively seeking opportunities to reuse treated effluent in applications which can accept low grade water.  Sludges produced by sewage treatment processes can be reused as soil conditioners.

Trade waste may have an organic strength many times that of domestic sewage and may overload the treatment facility. Trade waste may also contain a variety of toxic substances - such as heavy metals, organic solvents and chlorinated organics -  which sewerage systems are not designed to treat. These substances may:

- pose a serious risk to the safety and health of sewerage workers;

- damage the fabric of the sewerage system;

- inhibit biological processes at the treatment plant;

- accumulate in sludges, making their reuse difficult or impracticable; or

- pass through the plant untreated resulting in environmental contamination.

Council's policy is to accept (subject to conditions) biodegradable waste into the sewerage system provided that the system is of adequate capacity to effectively collect, transport and treat the waste.

Council may consider the acceptance of trade waste containing toxic or hazardous substances and non-degradable pollutants to sewer only after the waste has been pre-treated by on site " best practicable treatment" to ensure sewer admission limits are not exceeded.

In order to maintain community confidence in Council’s sewerage operations, and in line with national practice, trade waste permits and agreements are available for public scrutiny.  Commercially confidential details may be withheld.

2.	DEFINITIONS

Note: these definitions have not yet been checked against relevant legislation, in particular the new Standard Sewerage Law.  They will be checked and brought into line where necessary (action: Jon Nevill).

#### Authorised Agent
Person or firm appointed by the owner to act on their behalf.  Notification to Council of such appointment is to be lodged in writing with Council.

Domestic wastewater, domestic sewage:
Faecal matter and urine of human origin and liquid householder wastes from water closet pans, sinks, baths, basins and similar fixtures designed for use in private dwellings.

#### Generator
Any person, company or body whose activity produces or has the potential to produce trade waste.

#### Owner
The person, who for the time being is entitled to receive rent of any land, or who, if the same were let to a tenant at a rack rent, would be entitled to receive the rent thereof: The term includes any lessee from the crown and any superintendent, overseer, or manager for such lessee.

#### Premises
Includes messuages, buildings, lands, easements and tenements of any tenure.

#### Trade Waste Inspector
A person appointed by the Council to carry out inspections of premises from which trade wastes are being discharged or proposed to be discharged to its sewerage. The term includes an inspector appointed by the Council in an acting capacity for the time being to carry out such inspections.

#### Trade Waste Officer
A person appointed by Council to oversee the disposal of trade waste in accordance with Council’s trade waste policy and waste management plan and provide advice on acceptable methods of disposal of trade waste, including legal, economic and environmental aspects.  The term includes a person appointed in an acting capacity to carry out the duties of a trade waste officer.

Trade wastewater, trade waste:
Any liquid, and any substances contained in it, which may be produced at the premises of an industrial or commercial activity, but not including domestic wastewater.  In the context of this plan “trade waste” is taken to mean trade wastewater.

- TRADE WASTE POLICY

##### Purpose

To provide a liquid waste acceptance service to the non-residential sector in accordance with the principles of environmental sustainability.

##### Objectives

- to safeguard public health and the environment

- to protect the health and safety of all persons working on the sewerage system by applying safe standards for harmful substances

- to work towards consistent national standards by applying the National Water Quality Management Strategy Guidelines for Sewerage Systems, Acceptance of Trade Wastes (industrial wastes): Agriculture and Resource Management Council of Australia and New Zealand and Australian and New Zealand Environment and Conservation Council, November 1994.

- to encourage waste minimisation and cleaner production, including waste prevention, recycling, and pre-treatment

- to promote water conservation

- to equitably recover the cost of services including the cost of conveyance, treatment, wear and damage to the sewerage system

- to safeguard the sewerage system against damage, blockage or surcharging

- to exclude non-biodegradable and potentially harmful substances that may:

- cause the treatment process to fail;

- render effluent or sludges unacceptable for reuse or disposal, or cause any other detriment to the environment

- to assist Council to meet its statutory obligations under State law.

- to provide operational data on the volume and composition of industrial and commercial effluent to assist in the operation of the sewerage system and the design of augmentations or new sewerage systems.

Process

Council aims to achieve these objectives by a process which is clear, equitable, consistent, efficient, accountable, abreast of best practice, and responsive to changing community needs and concerns.

Policy instruments

Objectives are achieved using a combination of policy instruments, including:

- admission limits (acceptable concentration limits for sewerable wastes)

- conditional agreements and permits

- specification of best practice pre-treatment, and

- incentive pricing

4.	CONTROL OF TRADE WASTE

Under the Sewerage and Water Supply Act 1949 and the Standard Sewerage Law under the Act:

- It is illegal to discharge trade waste to the sewer unless approval (through the issuing of a permit) has been given by Council.  A permit is the written approval from Council for the discharge of trade waste to sewer which states the requirements and conditions under which discharge is allowed. Two types of permit are referred to in this policy - a Permit for Category 1 and 2 wastes and an Agreement for Category 3 wastes.

- It is illegal to discharge waste, other than uncontaminated stormwater, either directly or indirectly to a storm water drain (Environmental Protection Act 1994, Environmental Protection Policy (Water) 1997; Sewerage and Water Supply Act 1949 Part 3A Prohibited Substances and Trade Waste - section 17A (2) and (3); Standard Sewerage Law 1998 Part 2 - Prohibited substances from stormwater drainage.

A summary of legislation relevant to trade waste discharge to sewer is given in Appendix 1 for the benefit of applicants. This is not, nor is it intended to be, a complete listing of all legislation pertaining to the discharge of trade waste.

4.1 TERMINATION OF PERMIT OR AGREEMENT

Failure by the owner and/or generator to comply with the conditions of their Permit or Agreement or the requirements of any written notices issued pursuant to their Permit or Agreement shall result in the Permit or Agreement being terminated by Council.

Terms and conditions of a Permit or Agreement in respect of any matter occurring before the termination, including the payment of charges owing, shall continue to have force and effect after the termination of the Permit or Agreement.

4.2 PENALTIES

Council shall prosecute any person who commits a breach of the Sewerage And Water Supply Act or the Standard Sewerage Law, or the Environmental Protection Act, or who refuses or neglects to comply with any direction or requirement by Council pursuant to the Sewerage and Water Supply Act and the Standard Sewerage Law, or the Environmental Protection Act.  Penalties are set out in the above legislation, and include substantial fines.

5.	SEWER ADMISSION LIMITS

Any waste discharged to Council's sewer shall at all times comply with the Trade Waste Sewer Admission Limits as set out in Appendix 2 unless otherwise specified in the Permit or Agreement. These limits are subject to periodic review.

The sewer admission limits, unless otherwise specified in the Permit or Agreement, are absolute maximums.

The dilution of trade waste with water to achieve compliance with the sewer admission limits is prohibited.

The trade waste stream and domestic waste stream should, wherever practicable, discharge separately to the sewer. Where there is a common discharge pipe, allowance for the domestic component will be made to estimate the actual trade waste component strength.

Council requires that Generators install best practice pre-treatment processes to reduce both the volume and the contaminant load of wastes discharged to sewer.

Effluent improvement programs

However, Council may, at its discretion, negotiate with a Generator concerning acceptance of waste to sewer for which a General Limit parameter(s) (Schedule 1, Appendix 2) exceeds the Sewer Admission Limit.  Additional charges (clause 7.6) will apply for such parameters.

Where such an agreement is made, Council will require a Generator to prepare, to the satisfaction of Council, an effluent improvement program.  This program will include:

- for an existing discharge, a description of the current effluent;

- provision for monitoring and reporting waste quantity and quality;

- a program involving the development of waste reduction and pre-treatment aimed at reducing contaminant levels over a period of not more than 3 years to the prescribed admission limits; an action program must be provided, including expected outcomes, timelines and milestones;

- a program examining waste prevention and recycling options;

- examination of options for the conservation of water;

- preparation of a report for Council, including a summary of achievements and options; the report summary (and, where there is no commercially sensitive information, the whole report) will be made available to the Atlantis municipal library.

Existing customers who, at the time their agreement falls due for renewal, have not completed a satisfactory effluent improvement, are required to write to Council requesting an extension of time.  Council may issue a new agreement for the premises, subject to conditions that: (a) a satisfactory effluent improvement program be submitted within 60 days, and (b) that the agreement may be varied (after submission of the effluent improvement program) as necessary to enforce the implementation of the program.

Where a customer’s discharge does not comply with the admission limits, and a satisfactory effluent improvement program has not been provided, the customer must cease discharge of trade waste to the sewer.

6.	DISCHARGE CATEGORIES

All trade waste accepted to the sewer will be classified according to the following three categories for the purposes of approval, control and charging.

________________________________________________________________________

##### Category 1

Low strength / low volume discharges:

- BOD and Suspended Solids < 300 mg/L

- And / or COD < 600 mg/L

- Volume < 500 kL/annum;

Approval to discharge required - Permit;

Charge - flat fee (see clause 7.1 )

________________________________________________________________________

##### Category 2

Low strength / high volume discharges:

- BOD5 and Suspended Solids < 300 mg/L

- And / or COD < 600 mg/L

- Volume > 500 kL/annum;

Approval to discharge required - Permit;

Charge - Quantity charge on total annual flow; Minimum fee applies (see clause 7.1).

________________________________________________________________________

##### Category 3

High strength discharges:

- BOD and Suspended Solids > 300 mg/L

- And / or COD > 600 mg/L

- Volume: any;

Approval to discharge required - Agreement between Council and both the Owner (or Authorised Agent) and the trade waste Generator when the owner is not the Generator:

Charge - Quantity and Quality charge on total annual load; Minimum fee applies (see clause 7.1).

________________________________________________________________________

Acceptance of waste under any category is conditional on the waste meeting Council's Sewer Admission Limits (clause 5. and Appendix 2) unless otherwise specified in the Permit or Agreement.

It is the responsibility of the generator to install, operate and maintain "best practice" pre-treatment facilities to ensure sewer admission limits are not exceeded.

In the event of a significant change in the strength or volume of a waste approved under Category 1 or Category 2, the waste will be treated as a Category 3 waste for the purposes of charging and monitoring.

7.	TRADE WASTE CHARGES AND FEES

Charges to be levied in respect of trade waste for the ensuing financial year will be determined by Council resolution passed before or at the same time as the Budget in any financial year.

Accounts for trade waste discharge will be forwarded by the Council to the owner of the premises (unless agreement has been reached for such account to be forwarded directly to the Generator) each April, and the amount thereof shall be a debt due by the owner of the premises, and if not paid within 60 days after service of the demand, shall thereafter bear interest at such rate per centum per annum as shall be fixed by the Council by resolution. The amount owing, including interest, shall be recoverable in the same manner as general rates and shall until paid be a charge on the land, and in addition may be recovered as a debt from any subsequent owner.

Trade waste charges and fees for the current financial year are listed in Appendix 3.

7. 1	TRADE WASTE CHARGES

Trade waste is divided into three categories for charging purposes (clause 6.).

Charges are based on actual quality and quantity of discharge for the period, where this information is available; if this information is not available, charges will be based on figures described in the permit or agreement.

Charges will be levied as follows:

Category 1:

- A flat fee to cover administration, inspection and compliance testing shall apply.

Category 2:

- A quantity charge on total annual volume of trade waste discharged to the sewer to be calculated as follows:

C = Qk where C is the annual charge ($), Q is the annual volume (kL),and k is the unit charge rate ($/kL).

The unit charge, k, is based on the cost of providing and maintaining the sewerage system for the total annual wastewater flow to the sewerage plant(s) including administration, inspection and compliance testing for trade waste control;

- A minimum fee to cover administration, inspection and compliance testing shall apply when the charges calculated by the above formula are less than the minimum fee.

Category 3:

- A Quantity and Quality charge on the total annual discharge of trade waste to the sewer to be calculated as follows:

C = Qa + Qx1n1/1000 + Qx2n2 /1000 			where

C is the total annual charge ($),

Q is the total annual discharge volume (kL),

a is the unit charge for volume ($/kL),

x1, x2 are the average concentrations of pollutants N1, N2 (mg/L)

n1, n2 are the unit charges for pollutants N1, N2 ($/kg)

N1, N2 are the pollutants to be charged for.

- Charges shall be made for BOD5 (or COD), suspended solids, (oil/grease), special provisions as set out in an Agreement, or parameters deemed to be equivalent to BOD or COD by an Agreement.

- A minimum fee to cover administration, inspection and compliance testing shall apply when the charges calculated by the above formula are less than the minimum fee.

7.2	CHARGES FOR FOOD WASTE DISPOSAL UNITS

Trade waste Generators in Categories 1 and 2 with food waste disposal units (garbage grinders) shall be charged a fee based on the power of the motor:

Rated Power, watts			Units

Category A		< 400					2C

Category B		400- 700				6C

Category C		700 - 1000				8C

Category D		1000 - 1500				12C

Category E		1 500 - 2000				14C

Category F		> 2000					16C

where C is equivalent to the annual domestic sewage unit charge per pedestal.

7.3	INSPECTION AND ANALYSIS FEES

Additional inspection and testing fees, to be paid by the Owner (or Generator) on a sundry debtor basis, shall apply in all categories where more than the number of Council inspections and quality compliance tests allowed for under the Permit or Agreement and covered by the minimum fee are required because of non-compliance.

Inspection fees shall be based on the time spent on site.

The full cost of laboratory analyses shall be recovered.

7.4	APPLICATION FEES

Applicants for an Agreement to discharge under Category 3 shall be charged an application fee to cover the cost of processing the application and drawing up the Agreement.

This fee must accompany the application.

No application fee shall be charged for Permit applications for Category 1 and 2 wastes.

7.5	SEPTAGE AND OTHER LIQUID WASTE FEES

Licensed waste transporters (clause 13.) disposing of septage, portable toilet or other approved liquid waste to the sewer or sewage treatment plant under approved conditions shall be charged on a calculated volume basis ($/kL) which takes account of both the volume and strength of the waste.

7.6	ADDITIONAL CHARGE

Where Council agrees to accept to the sewer waste which has properties in excess of those defined in the General Limits (Schedule 1, Appendix 2) of the Sewer Admission Limits, an additional charge will apply for each agreed non-complying parameter. The formula for calculation shall be:

Charge = (actual/approved)d x charge rate ($/kg) x kg pollutant

where d is a constant to be determined by Council; - the minimum ratio for (actual/approved) is 1.0; and  approved means the sewer admission limit value or other negotiated value defined in the Permit or Agreement.

The period of the charge will be the time period, based on the sampling frequency, over which the limits are considered by Council to have been exceeded.

Exceeding the approved limit is an offence under the Act.

7.7	WASTE MINIMISATION INCENTIVES

Where a Generator has voluntarily prepared and implemented, to the satisfaction of Council, a waste minimisation plan, the Generator may apply for a discount of 5% on annual trade waste charges.  General advice on the preparation of a waste minimisation plan may be obtained from Council’s Environment Department.  In general, such a plan will consider:

- options for reducing the generation of waste

- options for recycling or reusing waste, including the reuse of wastewater within the premise

- options for the pre-treatment of waste to reduce load or toxic contamination

- options for the conservation of water

- monitoring and reporting provisions.

Private sector consultants are available to assist in the preparation of waste minimisation plans.

Further, a where Generator of Category 3 wastes has prepared and implemented, to the satisfaction of Council, an environmental management system in general accord with either the ISO 14000 or the Australian Standards for EMSs, the Generator may apply for a further discount of 5% on annual trade waste charges.  General advice on the preparation of environmental management systems may be obtained from Council’s Environmental Department, however detailed advice should be sought from private sector consultants.

8.	 APPLICATION PROCEDURES

An application, signed by the Owner or duly Authorised Agent and the Generator, must be lodged at the following times in respect of any premises where trade waste is generated or likely to be generated:

- during the processing of a Building Application for new premises or extensions intended for industrial and/or commercial usage;

- change in tenancy of such premises;

- shop fit-outs of such premises;

- during the processing of an application to strata title such premises;

- existing premises where trade waste is generated and no permit or agreement has been issued;

- change of ownership of such premises.

Liquid waste disposal contractors wishing to discharge septage, portable toilet waste or other approved holding tank or liquid waste to the sewer or sewage treatment plant must apply for a Permit/Agreement.

Application forms are available from the Council, or will be forwarded on request by telephoning (07) 1234 5678, or by writing to the Council at the above address.

Applicants may seek advice from the Council’s Infrastructure and Engineering Department

on how to complete the Form. Failure to provide all required information will result in delays in approvals.

Applications for discharge approval under Category 3 are subject to an Agreement being negotiated and must be accompanied by the Application Fee (Section 7.4 and Appendix 3).

Applications should include details of the proposed method of pre-treatment to be used to ensure waste meets sewer admission limits. Treatment plans should be forwarded in triplicate with the application. One copy will be returned stamped "approved- trade waste only" if satisfactory.

Any plumbing and drainage work associated with the installation of any treatment process shall be in accordance with the Standard Sewerage and Water Supply Law.

Applicants are referred to Council's publication " Pre-treatment Guidelines for Trade Waste Discharges" for further guidance. A copy is available from the Infrastructure and Engineering Department at a cost of $10.

Where a waste is deemed to be non-sewerable, a Permit/Agreement will not be issued and alternative arrangements for disposal of wastes will have to be made. General advice on treatment and disposal options for non-sewerable waste may be obtained from the Council’s Environmental Branch or the Infrastructure and Engineering Branch; however detailed advice should be sought from appropriately qualified private consultants.

9.	PERMITS AND AGREEMENTS

9. 1	PERMITS

Both the Owner or Authorised Agent and the trade waste Generator, when the Owner is not the Generator, of a premises from which waste classified as Category 1 or Category 2 is being discharged, shall be issued with a written permit which shall remain in force for the specified period unless cancelled sooner.

Trade Waste Permits are not transferable.

The Trade Waste Permit states the terms and conditions the Owner or Authorised Agent and the Generator must observe to discharge trade waste to Council's sewerage. These include, but are not limited to:

- the location of the premises and nature of the occupancy;

- the type and composition of trade waste that may be discharged;

- the quantity of trade waste that may be discharged;

- the rate of discharge, including maximum rate of discharge;

- the time when trade waste may be discharged;

- the period for which trade waste may be discharged;

- the method for estimation or measurement of discharge volume;

- provisions for measurement and sampling of discharge prior to entry to sewer;

- details of any pre-treatment required; conditions for maintenance of and removal of waste from pre-treatment equipment, including the contractor to be used;

- records to be kept concerning the cleaning and maintenance of pre-treatment equipment;

- the powers of Council to enter premises in relation to any matter with regard to trade waste control;

- termination conditions;

- penalties for non-compliance.;

- the obligations of the owner and generator with respect to payment of charges, fees and penalties; and

- any other conditions considered by Council to be appropriate.

9.2	AGREEMENTS

Both the Owner or Authorised Agent and the trade waste Generator, when the Owner is not the Generator, of a premises from which waste classified as Category 3 is being discharged, shall be required to negotiate a written Agreement with Council. The Agreement will remain in force for a period of 3 years unless cancelled sooner.

Trade Waste Agreements are not transferable.

The Trade Waste Agreement states the terms and conditions the Owner or Authorised Agent and the Generator must observe to discharge trade waste to Council's sewerage. These include but are not limited to:

- the location of the premises and nature of the occupancy;

- quality of waste that may be discharged;

- quantity of waste that may be discharged;

- rate of discharge - maximum instantaneous, maximum daily;

- hours of day, days of week discharge is allowed;

- details of self regulation monitoring program, including sampling point, frequency of sampling, method of sample collection and type of sample to be collected, analyses, required methods of analyses, laboratory to be used, data transfer, and availability to Council;

- type, design and location of flow measuring equipment and requirements for calibration;

- methods to be used for estimation of data lost due to failure of sampling program or flow measurement instrumentation;

- provision for measurement and sampling of discharge prior to entry to sewer;

- pre-treatment processes to be used;

- conditions for maintenance of, and removal of waste from, pre-treatment equipment;

- records to be kept concerning the cleaning and maintenance of pre-treatment equipment and disposal of waste;

- the powers of Council to enter premises in relation to any matter with regard to trade waste control;

- the obligation of the Owner or Authorised Agent and the Generator concerning any variations to operation or treatment processes that may effect discharge quantity or quality including change of business type;

- the obligations of the Owner or Authorised Agent and the Generator on termination of an Agreement by expiry, discontinuance of discharges, change of ownership or generator, or non-compliance with Agreement conditions;

- the obligations of the Owner or Authorised Agent and the Generator with respect to payment of charges, fees and penalties; penalties for non-compliance;

- a force majeure clause;

- the conditions by which any difference or dispute between Council, the Owner or Authorised Agent and the Generator arising from the terms of the Agreement which are not resolved to their mutual satisfaction may be submitted to arbitration; and

- any other conditions relevant to the particular discharge as agreed to.

10.	INSPECTION AND MONITORING

10.1	INSPECTION CHAMBERS AND/OR GAUGING FACILITY

Category 3 waste shall be discharged to Council's sewerage system via an open channel inspection chamber and/or gauging facility. The inspection chamber and/or gauging facility shall be located on the trade waste discharge line in an area which is accessible at all times to Council's officers thus allowing for sampling and/or monitoring equipment to be installed and operated.

For new Category 2 and 3 installations, the trade waste discharge line shall be separate from the domestic waste discharge line. For existing installations retrofitting is not required except where it may be done during any proposed upgrading or alterations to the installation.

Where a non-domestic premises does not have a trade waste discharge to Council's sewerage system, an open channel inspection chamber shall be installed on the house drain, in an accessible location, prior to leaving the property and/or connecting into the Council sewer.

Arrestor trap installations and other pre-treatment devices on premises discharging Category 1 and 2 waste shall have an inspection opening provided externally to the building, within the premises, at finished ground level.

10.2	INSPECTION AND MONITORING

All premises licensed by permit or agreement shall be routinely and randomly inspected by Council officers for the purpose of monitoring and auditing the conditions of discharge.

Council officers shall be permitted entry to the premises at all reasonable times and not obstructed from carrying out inspections.

11.	DETERMINATION OF DISCHARGE QUANTITY

11.1	CATEGORY 1 AND 2

The volume of trade waste discharged shall be estimated from total metered water consumption, less an allowance for domestic waste based on ...100 (check, is this OK?) kL/annum per pedestal and an allowance for water consumed on the property, based on a discharge factor.

Investigations have established a basis for estimation of the proportion of water consumption discharged as trade waste by various types of trade and manufacturing processes. These will form the basis of the initial fraction applied when a permit is issued. Where there is no fraction available, 100% discharge will be assumed.

Where individual generators have information which would indicate a departure from these bases, application may be made for reconsideration of the fraction used.

High volume Category 2 generators may, and are encouraged to, install an approved flow measurement device to be calibrated as specified in the Permit conditions.

11.2	CATEGORY 3

The volume of trade waste discharged to the sewer shall be measured by an approved flow measurement device calibrated as specified in the Agreement. This should be located on the trade waste discharge stream which should be separate from the domestic waste discharge stream.

Where the flow measured includes domestic waste, an allowance of ...100(check, is this OK?) kL/annum per pedestal shall be made.

Generators exempt from installing a flow measurement device shall have the volume of discharge estimated as under section 11.1.

12.	DETERMINATION OF DISCHARGE QUALITY

12.1	CATEGORY 1 AND 2

Quality measurements for Category 1 and 2 discharges are required for compliance checks only. This shall be done by Council as part of the inspection and monitoring program. The cost shall be covered by the annual trade waste fee except where additional inspection and testing is required because of non-compliance when Council shall charge the owner as prescribed in Section 7.3 and Appendix 3.

12.2	CATEGORY 3

Quality measurements are required for both charging and compliance purposes.

For charging purposes a system of self monitoring by the discharger shall be used to collect sufficient data to enable the average mass load for the designated charging period to be calculated. Where pre-treatment is required to meet sewer admission limits for specified parameters, self monitoring will be required for those parameters, or a suitable surrogate, to confirm satisfactory pre-treatment. Requirements for self monitoring and auditing by Council shall be specified in the Agreement.

The generator shall meet all costs of self monitoring. Council shall inspect the premises and audit the test results as agreed to at Council's expense.

Council will collect and analyse samples for overall assessment of compliance with Sewer Admission Limits at its own cost

Where additional inspection and testing is required to be done by Council as a result of non-compliance, Council shall charge the owner as prescribed in Section 7.3 and Appendix 3.

13.	REMOVAL OF LIQUID AND SLUDGE WASTE FROM PREMISES

No person shall discharge or cause to be discharged directly or indirectly to the sewer, wastes from any waste transport vehicle without Council approval through the issue of a Permit or Agreement.

Except as qualified in Clause 14., grease arrestor waste and oil arrestor waste shall not be disposed of to the sewerage system. Such wastes shall be disposed of in a manner and/or at a site approved of in accordance with requirements of the Environmental Protection Act and the Environmental Protection (Interim) Regulation 1995 and operated in accordance with the requirements of the Environmental Protection (Interim Waste) Regulation 1996.

Removal and disposal of sewage and septic tank sludges shall only be done by a Council approved waste transporter. Such waste shall be disposed of into the sewerage system in accordance with Permit/Agreement conditions.

All waste transporters shall be required to maintain records as prescribed by Council to account for all waste collected and disposed of within or outside the Council's boundaries.

Trade waste charges in accordance with Clause 7.5 and Schedule Vl Appendix 3 will apply to all transported liquid and sludge waste approved for discharge to sewer.

Advice on the disposal of liquid waste not suitable for discharge to sewer may be obtained from Council’s Environment Department or the Infrastructure and Engineering Department.

14.	ARRESTOR INSTALLATIONS

Where grease and oil arrestors are used to pre-treat waste before discharge to sewer they will be of a design and capacity approved by Council.

In a situation where a grease arrestor is required for pre-treatment but can not be installed because of specific site constraints an additional charge (clause 7.6) will apply.

14.1	GREASE ARRESTORS

The use of solvents, enzymes, bacterial cultures, odour control agents or pesticides in grease arrestors is prohibited unless specifically approved by Council. Conditional approval may be given to allow the generator to demonstrate to Council that the product to be used does not adversely impact on the sewerage system.

The maximum capacity of an individual grease arrestor shall be 2000 litres. Where the capacity requirement for a premises is greater than 2000 litres, additional arrestors shall be used, with each arrestor to be a discrete installation separately treating a defined waste stream.

Maintenance cleaning of grease arrestors shall be carried out on a regular basis in accordance with conditions of the Permit or Agreement by a Council approved Industrial Liquid Removal Contractor.

14.2	OIL ARRESTORS

Only Council approved "Quick Break Detergents" may be used where waste is discharged to sewer via an oil arrestor.

Maintenance cleaning of oil arrestors shall be carried out on a regular basis in accordance with conditions of the Permit or Agreement by a Council approved Industrial Liquid Removal Contractor.

15.	ENZYMES / BACTERIAL CULTURES IN PRE-TREATMENT SYSTEMS

Enzyme and bacterial cultures may be permitted for use in certain biological pre-treatment systems by way of specific application to Council. Conditional approval may be given to allow the discharger to demonstrate to Council that the product to be used does not adversely impact on the sewerage system.

16.	FOOD WASTE DISPOSAL UNITS

Food waste disposal units (garbage grinders / in sink waste disposal units) may be approved for non-domestic use by specific application to Council. Where installation is approved, an annual charge based on motor power shall apply (Section 7.2 and Appendix 3)

17.	COMMERCIAL SWIMMING POOLS / ORNAMENTAL PONDS

The back wash and pool water from commercial and public swimming pools and ornamental ponds constitute a trade waste and may not be discharged to sewer without approval through the issue of a Permit/Agreement. Trade waste charges in accordance with the discharge category will apply.

18.	MEDICAL, CLINICAL, VETERINARY AND INFECTIOUS WASTES

Solid wastes from any hospital, clinic, office or surgery of a medical or veterinary facility or laboratory, convalescent or nursing home or health transport facility; including, but not limited to, hypodermic needles, syringes, instruments, utensils, swabs, dressings, bandages, or any paper or plastic item of a disposable nature, or any portions of human or animal anatomy; shall not be discharged to the sewer.

Infectious or hazardous wastes deemed to pose a threat to public health and safety may not be discharged to the sewer without approval of Council. Such wastes shall require treatment to render them non-infectious or non-hazardous prior to discharge. When approved for discharge, trade waste charges will apply.

19.	CONTAINMENT OF TOXIC / HAZARDOUS SUBSTANCES

Any potentially toxic or hazardous substances shall be stored in areas where leaks, spillage, or overflows cannot be drained by gravity or by any automated mechanical means to the sewer or the stormwater system.

Bunding of toxic or hazardous substances shall meet recommendations of applicable best practice guidelines, standards, or codes of practice.

20.	DISCHARGE OF LIQUID WASTES FROM BUSES, AIRCRAFT AND VESSELS

The discharge of certain galley and toilet wastes from recreational vessels may be permitted via approved "pump out" facilities at Ports and Marinas. The waste discharged from these facilities must meet Sewer Admission Limits as set out in Appendix 2. The operator of such facilities must hold a Permit or Agreement for discharge. Charges will be in accordance with the category classification.

The discharge of untreated bilge water to the sewer is prohibited.

The discharge of toilet waste from buses, aircraft or other recreational vehicles may be permitted at approved discharge locations such as bus or transport depots, terminals, and caravan parks. The owner of the premises on which such facilities are located must hold a Permit or Agreement and discharge must be in accordance with the Permit/Agreement conditions.

Trade waste charges in accordance with Schedule Vl, Appendix 3 for septage and other approved liquid waste will apply.

21.	LANDFILL LEACHATE

Leachate from landfill sites and wastewater from waste treatment/disposal facilities constitutes a trade waste and may not be discharged to sewer without approval through the issue of a Permit/Agreement.

Trade waste charges in accordance with the discharge category will apply.

22.	DISCHARGE FROM OPEN AREAS

The discharge of uncontaminated rainwater runoff to sewer is prohibited.

The ingress of surface water from a potentially contaminated open area to the sewerage system can cause severe operational problems to Council. However, there may be circumstances when it is environmentally beneficial to accept these wastes to the sewer under strict controls.

A Permit or Agreement is required to discharge such waste. Controls will be required to ensure the discharge quality and quantity meet the requirements set by this policy and will include:

- all such water is pumped to sewer at a rate acceptable to Council; measures to ensure the discharge to sewer ceases automatically after a predetermined level of rainfall volume (mm) and/or intensity (mm/hr):

- measures to collect, segregate and treat the "first flush" volume, equivalent to 10 mm X open area (m2), during wet weather with additional runoff directed to the storm water system;

- the "first flush" volume collected is pumped to sewer, after any necessary pre-treatment, no sooner than one (1) hour after the cessation of rain;

- a suitable device for the determination of sewer discharge flow and volume to be installed; and any additional conditions as applicable.

All conditions will be specified in the Permit/Agreement.

Trade waste charges in accordance with the discharge category will apply.

23.	DISCRETIONARY POWER

Notwithstanding the provisions of this policy, given the complexity of many industrial wastes and the need to protect Council's sewerage system, staff and the environment, acceptance of any given trade waste to sewer shall always be at the discretion of Council.

24.	REFERENCE TO COUNCIL

In this policy, reference to Council means any person appointed or authorised by Council to act on behalf of Council as the case may require.

25.	PHASE IN PERIOD

This plan will become effective from 1 February 1999, and will be implemented over a

phase in period of two years in existing businesses. New businesses will be

required to fully comply with the policy from the effective date.

The schedule of charges in Appendix 3 reflect the full cost to Council of the control and treatment of trade waste. During the phase in period, total charges will be detailed in accounts but actual charges for the period will be as follows:

For Schedules	I	Trade Waste Charges

II	Food Waste Disposal Units

VI	Septage and other Approved Liquid Waste

VII	Penalty Charge

Year 1		30% of total charges

Year 2		60% of total charges

Year 3		100% of total charges

For Schedules	III	Application Fees

IV	Inspection Fees

V	Testing Fees

Total Charges as per Appendix 3 will apply at the commencement of this plan.

26.	COUNCIL TRADE WASTE RECORDS  AND REPORTS

Council will develop a computer database carrying a waste inventory for the Atlantis Shire Council area.  The purpose of this database is to contain, in an accessible form, information on waste generation in the Shire.  The database will list information on wastes routinely produced by commerce and industry, by location, volume and character.  Data will be derived from reports produced by holders of permits and agreements, and from monitoring conducted by or under Council direction.  Both solid and liquid wastes will be recorded.  A component of the database will contain trade waste information.  The database will not contain commercially sensitive information, and will be made available for public access.

The waste database will facilitate the local recycling and reuse of waste, and will assist the Council in waste management planning and reporting.

As part of its annual reporting cycle, Council will produce an annual environmental performance report, based on Council’s environmental management plan (when it is developed and implemented - anticipated to be late in 1999).  This report will be made available to the public through the Atlantis municipal library.

Council will, by 1 December 2000, in compliance with the requirements of the Environmental Protection Policy (Water) 1997, section 39, provide the State Government with a report on the development and implementation of the Council’s environmental management plans.  The annual reports on the implementation of environmental management plans, required by section 39(1)(b), will be included in the annual environmental reporting program mentioned above.

APPENDIX 1

SELECTED LEGISLATION RELEVANT TO TRADE WASTE

(1)	 SEWERAGE AND WATER SUPPLY ACT 1949 Section 1 7A

* Standard Sewerage Law

Section 33 	Compulsory and Permissible Discharges

Section 34 	Prohibited substances

Section 34A 	Costs of repairing damaged sewerage

Section 35 	Conditions of Discharge

Section 54 	Polluted Areas

Section 180 	Disposal of Contents of Septic Tank

* Schedule: Prohibited Substances for Section 1 7A of Act

Part 1 - Prohibited Substances for Sewerage

Part 2 - Prohibited Substances for Stormwater Drainage

* Standard Water Supply Law

Section 9     	Preventing the Waste or Misuse of Water

Section 46 	Recovery of Water Used in Certain Plant and Equipment.

(2)	ENVIRONMENTAL  PROTECTION  ACT 1994

* Environmental Protection (Interim) Regulation 1995

* Environmental Protection (Interim Waste) Regulation 1996

* Environmental Protection Policy (Water) 1997

(3)	ATLANTIS SHIRE COUNCIL LOCAL LAWS

* Sewerage (Atlantis) Regulation 1998

* Trade Waste (Atlantis) Regulation 1998

* Water Supply (Atlantis) Regulation 1998

APPENDIX 2

SEWER ADMISSION LIMITS

The upper limits for the quality of trade waste discharged to the sewer for all categories are set out below. These admission limits shall apply from ........... They are subject to periodic review.

I.	GENERAL LIMITS

Parameter									Concentration

mg/L except *

Temperature *								< 38oC

pH *										6 - 10

Biochemical Oxygen Demand (BOD5) +

Chemical Oxygen Demand (COD)  +

Total Organic Carbon (TOC)  +

Suspended Solids  +

Total dissolved solids (TDS)+

Total oil/grease (freon extractable)				200

Gross solids *								non faecal gross solids shall have a maximum linear dimension of less than 20mm and a quiescent settling rate of less than 3m/hr.

Colour *										limited such as not to give any discernible colour in treatment works discharge

Odour *										not detectable in 1% dilution or causing an odour problem in Council's sewerage system

Chlorine (as Cl2)								10

Sulphate ( as SO4--)#							2000

Sulphite ( as SO2)								100

Surfactants - Anionic (MBAS)						500

Aluminium (as Al)#								100

Iron (as Fe)#									100

Ammonia plus ammonium ion (as N)#				100

Total Kjeldahl Nitrogen (as N)#					150

Phosphorus (Total P)#							50

Manganese (as Mn)								100

+ the total mass load and the capacity of the sewerage system to accept the load shall be considered for each application.  # Council may in some circumstances accept waste containing higher concentrations of these substances. Additional charges for treatment (clause 7.6) will apply.

II	PROHIBITED DISCHARGES

·	Flammable/explosive substances.

·	Radioactive substances except as allowed for under the Queensland Radioactive Substances Act.

·	Pathological and infectious waste and Cytotoxic waste except as allowed for under the National Guidelines for the Management of Clinical and Related Wastes, National Health and Medical Research Council, 1988.

·	Genetically engineered organisms.

·	Rainwater and uncontaminated water.

III	SPECIFIC LIMITS - INORGANIC

Parameter								Concentration

mg/L

Boron (B)									100

Bromine (Br2)								10

Fluoride (F-)								30

Cyanide (CN-)								5

Sulphide (S--)								5

IV	SPECIFIC LIMITS - METALS

Parameter					Maximum			Lower Daily Mass

Concentration		Load, g/day

mg/L

Arsenic (As)						5			15

Cadmium (Cd)					2			6

Chromium (Cr)

Total 							20			75*

Hexavalent					10

Cobalt (Co)						10			30

Copper (Cu)						10			75

Lead (Pb)							10			30

Mercury (Hg)						0.05		0.15

Nickel (Ni)						10			30

Selenium (Se)						5			15

Silver (Ag)						5			15

Tin (Sn)							10			30

Zinc (Zn)							10			75

The  concentration values apply to dischargers having a daily mass load between the Lower Daily Mass Load (LDML) and the Upper Daily Mass Load (UDML). For small dischargers with a daily mass load below the LDML, no concentration limits apply. Dischargers who exceed Council's UDML limits will be required to take measures to meet the UDML. This may involve treating to a lower concentration than indicated above.

* For discharges below the Lower Daily Mass Load, hexavalent Cr must be reduced to trivalent Cr.

V.	SPECIFIC LIMITS - ORGANIC

Council may request specific demonstrable evidence based on degradability and toxicity concerning substances listed below.

Parameter								Maximum Concentration

mg/L

Formaldehyde (HCHO)							50

Phenolic compounds (as Phenol)					100

Pentachlorophenol								5

Petroleum hydrocarbons 						30

Halogenated Aliphatic hydrocarbons				5

Halogenated Aromatic Hydrocarbons (HAHs)		0.002

Polychlorinated biphenyls (PCBs)					0.002

Polybrominated biphenyls (PBBs)					0.002

Polynuclear Aromatic Hydrocarbons (PAHs)			5

Pesticides:  General(insecticides

/herbicides/fungicides)+						1.0

Pesticides: Organophosphates					0.1

Azinphos-methyl

Azinphos-ethyl

Coumaphos

Demeton

Dichlorvos

Dimethoate

Disulfoton

Fenitrothion

Fenthion

Malathion

Methamidophos

Mevinphos

Omethoate

Oxydemeton-methyl

Parathion

Triazophos

Trichlorfon

Pesticides- Organochlorines

Aldrin										0.001

Chlordane								0.006

DDT										0.003

Dieldrin									0.001

Heptachlor								0.003

Lindane									0.100

+ This category covers all pesticides other than those specifically listed under organophosphate and organochlorine pesticides.

VI.	Any substance not listed in the above tables is a prohibited discharge and may not be discharged without prior approval of Council. Council may request specific demonstrable evidence based on degradability and toxicity for any substance when assessing acceptance to sewer.

APPENDIX 3

(Note: Examples of charges given here are only ILLUSTRATIVE.  Councils MUST determine own charges)

TRADE WASTE CHARGES FOR  ...../..... FINANCIAL YEAR

Trade waste charges for the ..../..... financial year are listed below. It is drawn to the attention of intending applicants that these charges are reviewed annually by Council as part of its budget.  If the charges listed below are not those for the current financial year, applicants should obtain the correct charges by telephoning ............... on ................

I.		TRADE WASTE CHARGES

Category 1						Flat fee:		$ 100/annum

Category 2						Volume :		34c / kL

Minimum fee: 	$ 270/annum

Category 3						Volume :		25c / kL

BOD5 		55c / kg

Suspended solids:	22c / kg

Minimum fee:	$270/annum

II.		FOOD WASTE DISPOSAL UNITS.		III.	APPLICATION FEES

Unit rate :	 C = $200.00				Permit - Category 1	no charge

Permit - Category 2	no charge

Category A		$  400.00				Agreement - Category 3	$50.00

Category B		$ 1200.00

Category C		$ 1600.00

Category D		$ 2400.00

Category E		$ 2800.00

Category F		$ 3200.00

IV.	INSPECTION FEES

These apply to additional inspections required as result of non-compliance with permit or agreement.

All categories:					$60.00 per half hour or part thereof on site.

V.		TESTING FEES

These apply to additional analytical tests required as a result of non-compliance.

All categories:					Full cost of laboratory charges.

VI.	SEPTAGE AND OTHER APPROVED LIQUID WASTE

Volume charge all loads:  		$35.00 per kL

VII	ADDITIONAL CHARGE

For all parameters: d = 1.2

Charge/kg = $ 0.50

Approved means  Sewer Admission Limit unless otherwise specified in Permit/Agreement.